# User Guide for C# Application

This guide explains how to set up, configure, and run the Sysmetrics application using C#. Please follow the steps carefully to ensure proper operation.

## Prerequisites

- A Windows-based computer
- .NET SDK installed
- Visual Studio
- Network access to the target machine

## Installation

1. Download the folder named “SysmetricsSourcers” to your computer from Sysmetric-tfs.com\
2. Extract (unzip) the folder contents.
3. Open the solution file named “Sysmetrics.sln”.
4. Build the solution to ensure all dependencies are resolved.

## Configuration

Before running the application, you must configure the following files.

### Program.cs

Open the file Program.cs and update the following parameter:

- Machine IP Address: Enter the IP address of the target machine you want to connect to.

### ArticPolling.cs

Open the file ArticPolling.cs and configure the following settings:

- Device Type: Specify the device type (Artic or Samson).

- Desired Temperature: Set the required operating temperature.

- To turn the machine on or off, locate the relevant lines in the code and comment or uncomment them as needed.

## Running the Application

After completing all configuration steps, run the solution from Visual Studio. Monitor the output to confirm that the application is communicating correctly with the device.

## Notes

- Ensure the IP address is reachable before running the application.
- Incorrect device type may cause unexpected behavior.

- Be aware that if you “Turn-on” once you do not need to “Turn on” once you change temperature 2nd time (same for “Turn Off”).